## Instructions
Instructions
How to run MSA analysis in Quantum XL
| Step | Select 'Create MSA template' from the menu to create MSA template. Use all default settings in the wizard.
1
| Step | Quantum XL will create a new worksheet 'MSA Template'. - Enter measurements for each part - Enter reference values - Set specification limits
2
| Step | Select 'ANOVA' from the MSA menu and Quantum XL will run MSA ANOVA analysis. All analysis are reported in a single worksheet. Top of the report contains links so you navigate easily.
3

## MSA Template
Gage name: | My gage |  |  |  | Specification Limits:
Gage No.: |  |  |  |  | USL | 1
Gage type: |  |  |  |  | LSL | 0
Part Name:
Part No.:
Characteristics:
Specifications:
Date: | 2011-11-07
Performed by:
Part | Operator 1 |  |  | Operator 2 |  |  | Operator 3 |  |  | Ref
| Trial 1 | Trial 2 | Trial 3 | Trial 1 | Trial 2 | Trial 3 | Trial 1 | Trial 2 | Trial 3
1 | 0.54616 | 0.15029 | 0.2349 | 0.70511 | 0.65814 | 0.27308 | 0.11313 | 0.32279 | 0.58374 | 0.18384
2 | 0.17934 | 0.382 | 0.59869 | 0.63611 | 0.7407 | 0.74405 | 0.49431 | 0.070446 | 0.25 | 0.40752
3 | 0.15355 | 0.17752 | 0.7198 | 0.47597 | 0.56889 | 0.57569 | 0.61469 | 0.51847 | 0.74739 | 0.97869
4 | 0.8345 | 0.24704 | 0.15716 | 0.097667 | 0.63934 | 0.12535 | 0.86 | 0.46462 | 0.036894 | 0.42627
5 | 0.01674 | 0.92082 | 0.32338 | 0.47707 | 0.58485 | 0.96637 | 0.68313 | 0.53865 | 0.66453 | 0.53354
6 | 0.95568 | 0.15393 | 0.15227 | 0.76437 | 0.27474 | 0.84637 | 0.71988 | 0.088732 | 0.17407 | 0.93472
7 | 0.35047 | 0.23572 | 0.76021 | 0.27118 | 0.46699 | 0.31133 | 0.45953 | 0.50044 | 0.36518 | 0.20765
8 | 0.21217 | 0.57814 | 0.85441 | 0.54199 | 0.49924 | 0.88311 | 0.26925 | 0.16636 | 0.006792 | 0.74117
9 | 0.97885 | 0.17539 | 0.36144 | 0.40038 | 0.20096 | 0.43754 | 0.28874 | 0.18884 | 0.021528 | 0.8357
10 | 0.6857 | 0.2359 | 0.99191 | 0.32909 | 0.44492 | 0.52463 | 0.39057 | 0.56645 | 0.8493 | 0.37196
MSA Template
Template for ANOVA, XbarR and Nested ANOVA analysis 1. Enter specification limits (optional) . 2. Enter data (numerical values) in the Trial columns for each operator (mandatory) . 3. Enter reference data (numerical values) in the Ref column (optional) . 4. Run Quantum XL > MSA > ANOVA, XbarR or Nested ANOVA.

## My gage - MSA ANOVA
MSA Data Source: Sheet 'MSA Template' | [6 empty] | Specification Limits: |  |  | Part name: |  |  | Performed by
# of Operators: |  |  |  | 3 | Gage name: | My gage | USL: | 1 |  | Part No.:
# of Trials: |  |  |  | 3 | Gage No.: |  | LSL: | 0 |  | Part Characteristics: |  |  | Date | 2011-11-07
# of Parts: |  |  |  | 10 | Gage type: |  |  |  |  | Part Specifications:
Stats Advisor |  |  |  |  | Gage R&R Results |  | Average Chart |  | Range Chart |  | GP Curve |  | Gage Linearity And Bias
Stats Advisor
Total Gage R&R (GRR) Percent Tolerance
|  | → | The Total GR&R is 161.87%. A GR&R greater than 30% is an indication of an unacceptable measurement system. Reference AIAG MSA 4rd ed., p. 78 (3rd ed. p. 77).
Number of Distinct Categories (ndc)
|  | → | Number of distinct categories (ndc) is 1. For the measurement system to be acceptable, ndc should be >= 5. Reference AIAG MSA 4 ed., p. 123 (3rd ed., p. 117).
Xbar Chart
|  | → | 0.00% of the plotted averages fall outside the control limits. If less than half fall outside the control limits, then either the measurement system lacks adequate effective resolution or the sample does not represent the expected process variation. Reference AIAG MSA 4th ed., p 106 (3rd ed., p. 102).
Range Chart
|  | → | All ranges are in control. Operators are doing the same job. Reference AIAG MSA 4th ed., p 108. (3rd ed., p. 104).
Bias
|  | → | All operators have average bias that is statistically zero (p-Value >= 0.05). Reference AIAG MSA 4th ed., p 95. (3rd ed., p. 91).
Linearity
|  | → | This system has higher risk since the 'bias = 0' line does not fall within the confidence bounds for some operators. A change in procedure may be required. Reference AIAG MSA 4th ed., p. 95.
Source |  |  |  |  | Standard Deviation | 6 * StDev | % Contribution | % Tolerance |  | Source |  | Degrees of Freedom | Sum of Squares | Mean square | F-ratio | p-Value
Total Variation (TV) |  |  |  |  | 0.26978 | 1.6187 | 100% | 161.9% |  | Parts |  | 9 | 0.45747 | 0.05083 | 0.70569 | 0.6967
| Total Gage R&R (GRR) |  |  |  | 0.26978 | 1.6187 | 100% | 161.9% |  | Operators |  | 2 | 0.20188 | 0.10094 | 1.4014 | 0.27187
|  | Repeatability (EV) |  |  | 0.26797 | 1.6078 | 98.67% | 160.8% |  | Interaction (Operator by Part) |  | 18 | 1.2965 | 0.072029 | 1.004 | 0.46857
|  | Reproducibility (AV) |  |  | 0.031162 | 0.18697 | 1.334% | 18.7% |  | Repeatability (Equipment) |  | 60 | 4.3047 | 0.071745
|  |  | Operator |  | 0.031162 | 0.18697 | 1.334% | 18.7% |  | Total |  | 89 | 6.2606
|  |  | Operator * part |  | NA | NA | NA | NA
| Part to part (PV) |  |  |  | 0 | 0 | 0% | 0% | [7 empty] | Alpha to remove interaction term = 0.25
Model is without interactions (additive) since interactions p-Value > interaction term.
Number of distinct categories: ndc = 1
Non-AIAG Statistics
| P/Tol Ratio |  |  |  | 1.6187
The Precision to Tolerance Ratio is defined by NIST (see http://www.itl.nist.gov/div898/handbook/glossary.htm)
Rule Of Thumb »
Rule Of Thumb »
Tip »
Gage Linearity And Bias For Operator 1
This system has higher risk since the regression p-value(s) are < 0.05.
Regression formula:
Bias = -0.98255 * Reference + 0.43433
[11 empty] | Coefficient | t-Statistic | p-Value
[10 empty] | Const | 0.43433 | 3.351 | 0.0023169
[10 empty] | Slope | -0.98255 | -4.7506 | 5.4848e-05
Statistics:
[11 empty] | Standard error | 0.31381
[11 empty] | R2 | 44.63%
[11 empty] | Process Variation | 1.6187
[11 empty] | Linearity | 1.5904
[11 empty] | %Linearity | 98.25%
Bias:
[10 empty] | Reference | Bias | t-Statistic | p-Value
[10 empty] | Average | -0.11797 | -1.8256 | 0.082879
[10 empty] | 0.18384 | 0.12661 | 1.0519 | 0.40317
[10 empty] | 0.20765 | 0.24115 | 1.5148 | 0.26903
[10 empty] | 0.37196 | 0.26587 | 1.211 | 0.34958
[10 empty] | 0.40752 | -0.020844 | -0.17215 | 0.87916
[10 empty] | 0.42627 | -0.013363 | -0.062919 | 0.95555
[10 empty] | 0.53354 | -0.11323 | -0.42657 | 0.71122
[10 empty] | 0.74117 | -0.19293 | -1.0373 | 0.40857
[10 empty] | 0.8357 | -0.33048 | -1.361 | 0.30659
[10 empty] | 0.93472 | -0.51409 | -1.9216 | 0.1946
[10 empty] | 0.97869 | -0.6284 | -3.3989 | 0.076731
Gage Linearity And Bias For Operator 2
This system has higher risk since the regression p-value(s) are < 0.05.
Regression formula:
Bias = -0.88461 * Reference + 0.45065
[11 empty] | Coefficient | t-Statistic | p-Value
[10 empty] | Const | 0.45065 | 4.8989 | 3.6568e-05
[10 empty] | Slope | -0.88461 | -6.0262 | 1.7057e-06
Statistics:
[11 empty] | Standard error | 0.22272
[11 empty] | R2 | 56.46%
[11 empty] | Process Variation | 1.6187
[11 empty] | Linearity | 1.4319
[11 empty] | %Linearity | 88.46%
Bias:
[10 empty] | Reference | Bias | t-Statistic | p-Value
[10 empty] | Average | -0.046599 | -1.2785 | 0.21572
[10 empty] | 0.18384 | 0.3616 | 2.6422 | 0.11835
[10 empty] | 0.20765 | 0.14218 | 2.381 | 0.14022
[10 empty] | 0.37196 | 0.060915 | 1.073 | 0.39555
[10 empty] | 0.40752 | 0.29943 | 8.4503 | 0.013717
[10 empty] | 0.42627 | -0.13881 | -0.78814 | 0.51319
[10 empty] | 0.53354 | 0.14255 | 0.96036 | 0.43821
[10 empty] | 0.74117 | -0.099726 | -0.82105 | 0.49791
[10 empty] | 0.8357 | -0.48941 | -6.6627 | 0.021793
[10 empty] | 0.93472 | -0.30622 | -1.716 | 0.2283
[10 empty] | 0.97869 | -0.43851 | -13.633 | 0.0053374
Gage Linearity And Bias For Operator 3
This system has higher risk since the regression p-value(s) are < 0.05.
Regression formula:
Bias = -1.0861 * Reference + 0.44904
[11 empty] | Coefficient | t-Statistic | p-Value
[10 empty] | Const | 0.44904 | 4.2138 | 0.00023631
[10 empty] | Slope | -1.0861 | -6.3871 | 6.5002e-07
Statistics:
[11 empty] | Standard error | 0.25801
[11 empty] | R2 | 59.3%
[11 empty] | Process Variation | 1.6187
[11 empty] | Linearity | 1.7581
[11 empty] | %Linearity | 108.6%
Bias:
[10 empty] | Reference | Bias | t-Statistic | p-Value
[10 empty] | Average | -0.16149 | -3.9516 | 0.00078785
[10 empty] | 0.18384 | 0.15605 | 1.1464 | 0.37029
[10 empty] | 0.20765 | 0.23406 | 5.8445 | 0.02805
[10 empty] | 0.37196 | 0.23014 | 1.7224 | 0.22714
[10 empty] | 0.40752 | -0.13593 | -1.1066 | 0.38374
[10 empty] | 0.42627 | 0.027572 | 0.11601 | 0.91824
[10 empty] | 0.53354 | 0.095226 | 2.0984 | 0.17074
[10 empty] | 0.74117 | -0.59371 | -7.776 | 0.016139
[10 empty] | 0.8357 | -0.66933 | -8.5866 | 0.013293
[10 empty] | 0.93472 | -0.60716 | -3.0711 | 0.091679
[10 empty] | 0.97869 | -0.35184 | -5.3017 | 0.033785
MSA ANOVA Results
Gage R&R Results
ANOVA Table
Xbar chart
The current chart is locked to prevent modification of the X and Y Axis of the Xbar chart. To edit this chart, unprotect it at the Excel ribbon > Review > Unprotect sheet.
Range chart
The current chart is locked to prevent modification of the X and Y Axis of the Range chart. To edit this chart, unprotect it at the Excel ribbon > Review > Unprotect sheet.
Components of Variation
Operator by Part
Gage Performance Curve
The current chart is locked to prevent modification of the X and Y Axis of the Gage Performance Curve. To edit this chart, unprotect it at the Excel ribbon > Review > Unprotect sheet.
Color Code Table Black Text - Complies with rules of thumb Blue Text - Doesn't violate rules of thumb, but could be improved Red Text - Does not meet rules of thumb
Note on J39: Total Gage R&R (GRR) Percent Tolerance GRR < 10% is acceptable GRR from 10% to 30% is marginal, depends on application GRR over 30% is unacceptable Reference AIAG MSA 4th ed., p 78 (3rd ed., p. 77)
Note on J46: Number of distinct categories (ndc) ndc is the number of non-overlapping 97% confidence intervals that will span the expected product variation. ndc should be >= 5. Reference AIAG MSA 4th ed., p 123. (3rd ed., p. 117)
Note on B70: XBar Chart 50% or more of the plotted averages should fall outside the control limits. Reference AIAG MSA 4th ed., p 106, (3rd ed., p. 102)
Note on B90: Range Chart - If all ranges are in control, then the appraisers are doing the same job. - If one or more operators have range(s) out of control, then the operators are using a different method. - If all operators have range(s) out of control, the measurement system is sensitive to appraiser technique and should be improved. Reference AIAG MSA 4th ed., p 108 (3rd ed., p. 104)
Note on B113: Gage Performance Curve The Gage Performance curve indicates the probability of accepting a part based upon its true value. Find the true value on the X Axis and read the probability of acceptance from the Y axis. Note: the Gage Performance Curve does not reflect the distribution of the measured parts.
Note on O122: Linearity - If the p-Value for the slope is >= 0.05, then the measurement system statistically has the same bias for all the reference values. - If the p-Value for the const is >= 0.05, then the bias is statistically zero. - If both slope and const p-Values are >= 0.05, then the linearity is acceptable. Reference AIAG MSA 4th ed., p 101, (3rd ed., p. 94)
Note on O135: Bias The bias is statistically zero if the p-Value is >= 0.05. A measurement system that has a non-zero bias should be recalibrated (if possible). Reference AIAG MSA 3rd ed., Page #91
Note on O154: Linearity - If the p-Value for the slope is >= 0.05, then the measurement system statistically has the same bias for all the reference values. - If the p-Value for the const is >= 0.05, then the bias is statistically zero. - If both slope and const p-Values are >= 0.05, then the linearity is acceptable. Reference AIAG MSA 4th ed., p 101, (3rd ed., p. 94)
Note on O167: Bias The bias is statistically zero if the p-Value is >= 0.05. A measurement system that has a non-zero bias should be recalibrated (if possible). Reference AIAG MSA 3rd ed., Page #91
Note on O186: Linearity - If the p-Value for the slope is >= 0.05, then the measurement system statistically has the same bias for all the reference values. - If the p-Value for the const is >= 0.05, then the bias is statistically zero. - If both slope and const p-Values are >= 0.05, then the linearity is acceptable. Reference AIAG MSA 4th ed., p 101, (3rd ed., p. 94)
Note on O199: Bias The bias is statistically zero if the p-Value is >= 0.05. A measurement system that has a non-zero bias should be recalibrated (if possible). Reference AIAG MSA 3rd ed., Page #91

## Sheet5 (hidden)
MetadataID | 6AB14BF9DF616C4192C57BC58B7BCCD7 |  |  | Part Number | Operator 1 | Operator 2 | Operator 3 | LCL=-0.010081 | Center=0.45342 | UCL=0.91692 | Operator 1 | Operator 2 | Operator 3 | Center=0.45308 | UCL=1.1662 |  | % Contribution | % Tolerance | X | Pa |  | LSL |  | USL | Data |  | Reference Value | 95% CI Upper | Regression | 95% CI Lower | Average Bias | Bias = 0 | Bias = 0 | Data |  | Reference Value | 95% CI Upper | Regression | 95% CI Lower | Average Bias | Bias = 0 | Bias = 0 | Data |  | Reference Value | 95% CI Upper | Regression | 95% CI Lower | Average Bias | Bias = 0 | Bias = 0
MetadataGroupID | F1EDA709A728CB41838BB93BD24DDD68 | Operator 1 | 0 | 1 | 0.31045 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.39586 |  |  | 0.45308 | 1.1662 | Gage R&R | 100 | 161.8682 |  | 7.474e-13 | 0 | 0 | 1 | 0 | 0.18384 | 0.36232 | 0.18384 | 0.45233 | 0.25369 | 0.055057 | 0.12661 | 0.18384 | 0 | 0.18384 | 0.52127 | 0.18384 | 0.429 | 0.28802 | 0.14704 | 0.3616 | 0.18384 | 0 | 0.18384 | -0.07071 | 0.18384 | 0.41268 | 0.24936 | 0.086043 | 0.15605 | 0.18384 | 0
MetadataName | MSA | Operator 2 | 0 | 2 | 0.38668 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.41935 |  |  | 0.45308 | 1.1662 | Repeat | 98.6658 | 160.7848 |  | 8.5421e-13 | 0 | 1.1 | 1 | 1.1 | 0.18384 | -0.033547 | 0.20765 | 0.42089 | 0.2303 | 0.039707 | 0.24115 | 0.97869 | 0 | 0.18384 | 0.4743 | 0.20765 | 0.40222 | 0.26695 | 0.13168 | 0.14218 | 0.97869 | 0 | 0.18384 | 0.13895 | 0.20765 | 0.3802 | 0.2235 | 0.066795 | 0.23406 | 0.97869 | 0
SourceType | EXCEL | Operator 3 | 0 | 3 | 0.35029 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.56625 |  |  | 0.45308 | 1.1662 | Reprod | 1.3342 | 18.697 |  | 9.7578e-13 |  |  |  |  | 0.18384 | 0.051055 | 0.37196 | 0.2112 | 0.068852 | -0.073495 | 0.26587 |  |  | 0.18384 | 0.089236 | 0.37196 | 0.22263 | 0.1216 | 0.020572 | 0.060915 |  |  | 0.18384 | 0.3999 | 0.37196 | 0.16207 | 0.04503 | -0.072008 | 0.23014
XLTableHasHeader | 0 |  |  | 4 | 0.4129 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.67734 |  |  | 0.45308 | 1.1662 | Part To Part | 0 | 0 |  | 1.1144e-12 |  |  |  |  | 0.20765 | 0.14282 | 0.40752 | 0.16832 | 0.033918 | -0.10048 | -0.020844 |  |  | 0.20765 | 0.063526 | 0.40752 | 0.18554 | 0.09015 | -0.0052378 | 0.29943 |  |  | 0.20765 | 0.25188 | 0.40752 | 0.11691 | 0.0064127 | -0.10409 | -0.13593
FLINK_SourceData |  |  |  | 5 | 0.42031 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.90408 |  |  | 0.45308 | 1.1662 |  |  |  |  | 1.2722e-12 |  |  |  |  | 0.20765 | 0.028064 | 0.42627 | 0.14621 | 0.015499 | -0.11521 | -0.013363 |  |  | 0.20765 | 0.25934 | 0.42627 | 0.16634 | 0.073567 | -0.019205 | -0.13881 |  |  | 0.20765 | 0.29279 | 0.42627 | 0.093522 | -0.013949 | -0.12142 | 0.027572
DataInCols | TRUE |  |  | 6 | 0.42063 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.80341 |  |  | 0.45308 | 1.1662 |  |  |  |  | 1.4519e-12 |  |  |  |  | 0.20765 | 0.55256 | 0.53354 | 0.028077 | -0.089905 | -0.20789 | -0.11323 |  |  | 0.20765 | 0.10368 | 0.53354 | 0.062406 | -0.021331 | -0.10507 | 0.14255 |  |  | 0.20765 | 0.15753 | 0.53354 | -0.033462 | -0.13047 | -0.22747 | 0.095226
MultiDatasets | TRUE |  |  | 7 | 0.4488 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.52449 |  |  | 0.45308 | 1.1662 |  |  |  |  | 1.6565e-12 |  |  |  |  | 0.37196 | 0.31374 | 0.74117 | -0.15417 | -0.29391 | -0.43366 | -0.19293 |  |  | 0.37196 | -0.042878 | 0.74117 | -0.10582 | -0.205 | -0.30419 | -0.099726 |  |  | 0.37196 | 0.018608 | 0.74117 | -0.24109 | -0.35598 | -0.47088 | -0.59371
FLINK_Table_AnovaReport | 0 |  |  | 8 | 0.54824 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.64224 |  |  | 0.45308 | 1.1662 |  |  |  |  | 1.8892e-12 |  |  |  |  | 0.37196 | -0.13606 | 0.8357 | -0.22184 | -0.38679 | -0.55175 | -0.33048 |  |  | 0.37196 | 0.072955 | 0.8357 | -0.17155 | -0.28863 | -0.4057 | -0.48941 |  |  | 0.37196 | 0.19449 | 0.8357 | -0.32304 | -0.45866 | -0.59428 | -0.66933
FLINK_Table_GageReport | 0 |  |  | 9 | 0.50522 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.80346 |  |  | 0.45308 | 1.1662 |  |  |  |  | 2.1538e-12 |  |  |  |  | 0.37196 | 0.61995 | 0.93472 | -0.28737 | -0.48408 | -0.68079 | -0.51409 |  |  | 0.37196 | 0.15267 | 0.93472 | -0.2366 | -0.37621 | -0.51582 | -0.30622 |  |  | 0.37196 | 0.47733 | 0.93472 | -0.40447 | -0.5662 | -0.72793 | -0.60716
FLINK_TemplateSource | 100 |  |  | 10 | 0.63784 |  |  | -0.010081 | 0.45342 | 0.91692 | 0.75601 |  |  | 0.45308 | 1.1662 |  |  |  |  | 2.4548e-12 |  |  |  |  | 0.40752 | -0.22818 | 0.97869 | -0.31533 | -0.52728 | -0.73923 | -0.6284 |  |  | 0.40752 | 0.22859 | 0.97869 | -0.26468 | -0.41511 | -0.56554 | -0.43851 |  |  | 0.40752 | 0.086793 | 0.97869 | -0.4397 | -0.61396 | -0.78823 | -0.35184
FromTemplate | 1 |  |  | 1 |  | 0.54544 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.43203 |  | 0.45308 | 1.1662 |  |  |  |  | 2.7969e-12 |  |  |  |  | 0.40752 | -0.025519 | [7 empty] | 0.40752 | 0.33318 | [7 empty] | 0.40752 | -0.33707
ConfLev | 0.95 |  |  | 2 |  | 0.70695 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.10794 |  | 0.45308 | 1.1662 |  |  |  |  | 3.1855e-12 |  |  |  |  | 0.40752 | 0.19117 | [7 empty] | 0.40752 | 0.33653 | [7 empty] | 0.40752 | -0.15752
SignLev | 0.05 |  |  | 3 |  | 0.54018 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.099714 |  | 0.45308 | 1.1662 |  |  |  |  | 3.6269e-12 |  |  |  |  | 0.42627 | 0.40824 | [7 empty] | 0.42627 | -0.3286 | [7 empty] | 0.42627 | 0.43374
AlphaToRemoveInteractionTerm | 0.25 |  |  | 4 |  | 0.28745 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.54168 |  | 0.45308 | 1.1662 |  |  |  |  | 4.128e-12 |  |  |  |  | 0.42627 | -0.17922 | [7 empty] | 0.42627 | 0.21308 | [7 empty] | 0.42627 | 0.038352
SpreadFactor | 6 |  |  | 5 |  | 0.6761 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.48931 |  | 0.45308 | 1.1662 |  |  |  |  | 4.6969e-12 |  |  |  |  | 0.42627 | -0.2691 | [7 empty] | 0.42627 | -0.30092 | [7 empty] | 0.42627 | -0.38937
LSL |  |  |  | 6 |  | 0.62849 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.57163 |  | 0.45308 | 1.1662 |  |  |  |  | 5.3424e-12 |  |  |  |  | 0.53354 | -0.5168 | [7 empty] | 0.53354 | -0.056477 | [7 empty] | 0.53354 | 0.14959
USL |  |  |  | 7 |  | 0.34983 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.19581 |  | 0.45308 | 1.1662 |  |  |  |  | 6.0745e-12 |  |  |  |  | 0.53354 | 0.38727 | [7 empty] | 0.53354 | 0.051305 | [7 empty] | 0.53354 | 0.0051037
DataColumn | 0 |  |  | 8 |  | 0.64145 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.38387 |  | 0.45308 | 1.1662 |  |  |  |  | 6.9045e-12 |  |  |  |  | 0.53354 | -0.21016 | [7 empty] | 0.53354 | 0.43283 | [7 empty] | 0.53354 | 0.13099
OperatorsColum | 0 |  |  | 9 |  | 0.34629 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.23658 |  | 0.45308 | 1.1662 |  |  |  |  | 7.8454e-12 |  |  |  |  | 0.74117 | -0.529 | [7 empty] | 0.74117 | -0.19918 | [7 empty] | 0.74117 | -0.47193
PartsColumn | 0 |  |  | 10 |  | 0.43288 |  | -0.010081 | 0.45342 | 0.91692 |  | 0.19555 |  | 0.45308 | 1.1662 |  |  |  |  | 8.9114e-12 |  |  |  |  | 0.74117 | -0.16303 | [7 empty] | 0.74117 | -0.24194 | [7 empty] | 0.74117 | -0.57481
RefsColumn | 0 |  |  | 1 |  |  | 0.33989 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.47061 | 0.45308 | 1.1662 |  |  |  |  | 1.0119e-11 |  |  |  |  | 0.74117 | 0.11324 | [7 empty] | 0.74117 | 0.14194 | [7 empty] | 0.74117 | -0.73438
MSAType | Anova |  |  | 2 |  |  | 0.27159 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.42387 | 0.45308 | 1.1662 |  |  |  |  | 1.1486e-11 |  |  |  |  | 0.8357 | 0.14315 | [7 empty] | 0.8357 | -0.43532 | [7 empty] | 0.8357 | -0.54697
AttrNumOfTrials | 20 |  |  | 3 |  |  | 0.62685 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.22892 | 0.45308 | 1.1662 |  |  |  |  | 1.3034e-11 |  |  |  |  | 0.8357 | -0.66032 | [7 empty] | 0.8357 | -0.63475 | [7 empty] | 0.8357 | -0.64686
AttrUseLSLTolerance | 1 |  |  | 4 |  |  | 0.45384 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.82311 | 0.45308 | 1.1662 |  |  |  |  | 1.4785e-11 |  |  |  |  | 0.8357 | -0.47427 | [7 empty] | 0.8357 | -0.39816 | [7 empty] | 0.8357 | -0.81418
ShowBothTolerances | 0 |  |  | 5 |  |  | 0.62877 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.14448 | 0.45308 | 1.1662 |  |  |  |  | 1.6766e-11 |  |  |  |  | 0.93472 | 0.020963 | [7 empty] | 0.93472 | -0.17034 | [7 empty] | 0.93472 | -0.21484
Accept | 1 |  |  | 6 |  |  | 0.32756 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.63115 | 0.45308 | 1.1662 |  |  |  |  | 1.9006e-11 |  |  |  |  | 0.93472 | -0.78078 | [7 empty] | 0.93472 | -0.65998 | [7 empty] | 0.93472 | -0.84598
Reject | 0 |  |  | 7 |  |  | 0.44172 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.13526 | 0.45308 | 1.1662 |  |  |  |  | 2.1538e-11 |  |  |  |  | 0.93472 | -0.78245 | [7 empty] | 0.93472 | -0.088347 | [7 empty] | 0.93472 | -0.76065
GageName | My Gage |  |  | 8 |  |  | 0.14747 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.26245 | 0.45308 | 1.1662 |  |  |  |  | 2.4398e-11 |  |  |  |  | 0.97869 | -0.82514 | [7 empty] | 0.97869 | -0.50272 | [7 empty] | 0.97869 | -0.364
GageNum |  |  |  | 9 |  |  | 0.16637 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.26721 | 0.45308 | 1.1662 |  |  |  |  | 2.763e-11 |  |  |  |  | 0.97869 | -0.80117 | [7 empty] | 0.97869 | -0.4098 | [7 empty] | 0.97869 | -0.46022
GageType |  |  |  | 10 |  |  | 0.60211 | -0.010081 | 0.45342 | 0.91692 |  |  | 0.45872 | 0.45308 | 1.1662 |  |  |  |  | 3.1279e-11 |  |  |  |  | 0.97869 | -0.25889 | [7 empty] | 0.97869 | -0.403 | [7 empty] | 0.97869 | -0.2313
PartName | [19 empty] | 3.5398e-11
PartNo | [19 empty] | 4.0046e-11
PartCharacteristics | [19 empty] | 4.529e-11
PartSpecifications | [19 empty] | 5.1202e-11
GageDate | [19 empty] | 5.7867e-11
GagePerformedBy | [19 empty] | 6.5377e-11
UnderlyingRows | 921 | [18 empty] | 7.3837e-11
UnderlyingCols | 50 | [18 empty] | 8.3364e-11
TotalCols | 52 | [18 empty] | 9.4089e-11
TotalRows | 921 | [18 empty] | 1.0616e-10
1.1973e-10
1.35e-10
1.5216e-10
1.7145e-10
1.9312e-10
2.1745e-10
2.4477e-10
2.7542e-10
3.0981e-10
3.4838e-10
3.9162e-10
4.4007e-10
4.9436e-10
5.5515e-10
6.2322e-10
6.9939e-10
7.8461e-10
8.7992e-10
9.8647e-10
1.1056e-09
1.2386e-09
1.3872e-09
1.5531e-09
1.7383e-09
1.9448e-09
2.1752e-09
2.4321e-09
2.7184e-09
3.0374e-09
3.3927e-09
3.7883e-09
4.2286e-09
4.7185e-09
5.2634e-09
5.8692e-09
6.5426e-09
7.2908e-09
8.1219e-09
9.0446e-09
1.0069e-08
1.1205e-08
1.2466e-08
1.3864e-08
1.5413e-08
1.713e-08
1.9031e-08
2.1137e-08
2.3468e-08
2.6047e-08
2.89e-08
3.2055e-08
3.5542e-08
3.9395e-08
4.3652e-08
4.8352e-08
5.3541e-08
5.9267e-08
6.5583e-08
7.2548e-08
8.0227e-08
8.8688e-08
9.8009e-08
1.0827e-07
1.1957e-07
1.3201e-07
1.4569e-07
1.6073e-07
1.7727e-07
1.9545e-07
2.1541e-07
2.3734e-07
2.6142e-07
2.8784e-07
3.1682e-07
3.4861e-07
3.8346e-07
4.2165e-07
4.6349e-07
5.0932e-07
5.5949e-07
6.144e-07
6.7447e-07
7.4018e-07
8.1201e-07
8.9052e-07
9.763e-07
1.07e-06
1.1723e-06
1.2839e-06
1.4057e-06
1.5386e-06
1.6834e-06
1.8413e-06
2.0133e-06
2.2007e-06
2.4047e-06
2.6268e-06
2.8684e-06
3.1312e-06
3.4169e-06
3.7275e-06
4.065e-06
4.4316e-06
4.8296e-06
5.2617e-06
5.7305e-06
6.239e-06
6.7905e-06
7.3882e-06
8.0359e-06
8.7375e-06
9.4972e-06
1.032e-05
1.1209e-05
1.2172e-05
1.3213e-05
1.4338e-05
1.5554e-05
1.6868e-05
1.8287e-05
1.9818e-05
2.147e-05
2.3253e-05
2.5175e-05
2.7248e-05
2.9481e-05
3.1887e-05
3.4478e-05
3.7268e-05
4.027e-05
4.3499e-05
4.6972e-05
5.0706e-05
5.4718e-05
5.9029e-05
6.3659e-05
6.863e-05
7.3964e-05
7.9687e-05
8.5825e-05
9.2406e-05
9.9459e-05
0.00010701
0.00011511
0.00012377
0.00013305
0.00014297
0.00015358
0.00016493
0.00017705
0.00019001
0.00020385
0.00021862
0.00023439
0.00025122
0.00026917
0.00028831
0.0003087
0.00033044
0.00035359
0.00037824
0.00040447
0.00043239
0.00046209
0.00049366
0.00052722
0.00056289
0.00060077
0.000641
0.0006837
0.00072901
0.00077707
0.00082804
0.00088206
0.00093931
0.00099996
0.0010642
0.0011322
0.0012041
0.0012802
0.0013607
0.0014457
0.0015357
0.0016306
0.0017309
0.0018368
0.0019485
0.0020664
0.0021907
0.0023218
0.0024599
0.0026054
0.0027586
0.0029199
0.0030897
0.0032683
0.0034562
0.0036536
0.0038612
0.0040793
0.0043083
0.0045487
0.0048011
0.0050658
0.0053435
0.0056346
0.0059397
0.0062594
0.0065943
0.0069449
0.0073118
0.0076957
0.0080973
0.0085171
0.0089559
0.0094144
0.0098934
0.010393
0.010915
0.01146
0.012028
0.01262
0.013238
0.013881
0.014551
0.015249
0.015975
0.016731
0.017517
0.018334
0.019184
0.020067
0.020984
0.021937
0.022925
0.023951
0.025016
0.026119
0.027263
0.028449
0.029677
0.030949
0.032265
0.033628
0.035037
0.036495
0.038002
0.039559
0.041168
0.042829
0.044544
0.046314
0.04814
0.050024
0.051965
0.053966
0.056027
0.05815
0.060336
0.062586
0.0649
0.06728
0.069728
0.072243
0.074827
0.077481
0.080206
0.083002
0.085872
0.088815
0.091832
0.094925
0.098094
0.10134
0.10466
0.10806
0.11154
0.1151
0.11874
0.12246
0.12627
0.13015
0.13411
0.13816
0.14229
0.1465
0.1508
0.15518
0.15964
0.16418
0.16881
0.17352
0.17831
0.18319
0.18814
0.19318
0.19831
0.20351
0.20879
0.21415
0.2196
0.22512
0.23072
0.23639
0.24214
0.24797
0.25387
0.25984
0.26589
0.272
0.27819
0.28444
0.29076
0.29714
0.30359
0.3101
0.31666
0.32329
0.32997
0.33671
0.3435
0.35034
0.35723
0.36417
0.37115
0.37817
0.38524
0.39234
0.39948
0.40665
0.41385
0.42108
0.42834
0.43562
0.44293
0.45025
0.45759
0.46494
0.47231
0.47968
0.48706
0.49445
0.50183
0.50922
0.5166
0.52397
0.53134
0.53869
0.54604
0.55336
0.56066
0.56795
0.57521
0.58244
0.58964
0.59681
0.60395
0.61105
0.61812
0.62514
0.63212
0.63905
0.64594
0.65277
0.65956
0.66629
0.67296
0.67958
0.68614
0.69263
0.69906
0.70543
0.71173
0.71796
0.72412
0.73021
0.73622
0.74216
0.74803
0.75381
0.75952
0.76515
0.77069
0.77616
0.78154
0.78683
0.79204
0.79716
0.8022
0.80715
0.81201
0.81678
0.82146
0.82604
0.83054
0.83495
0.83926
0.84348
0.84761
0.85164
0.85558
0.85942
0.86318
0.86683
0.8704
0.87386
0.87724
0.88051
0.8837
0.88679
0.88978
0.89268
0.89548
0.89819
0.9008
0.90332
0.90575
0.90808
0.91032
0.91246
0.91451
0.91647
0.91833
0.9201
0.92177
0.92335
0.92484
0.92624
0.92755
0.92876
0.92988
0.93091
0.93184
0.93269
0.93344
0.9341
0.93467
0.93515
0.93553
0.93583
0.93603
0.93614
0.93617
0.9361
0.93594
0.93568
0.93534
0.93491
0.93438
0.93376
0.93305
0.93225
0.93136
0.93038
0.9293
0.92813
0.92687
0.92552
0.92407
0.92254
0.9209
0.91918
0.91736
0.91545
0.91345
0.91135
0.90916
0.90687
0.90449
0.90201
0.89944
0.89678
0.89402
0.89117
0.88822
0.88518
0.88204
0.87881
0.87548
0.87205
0.86854
0.86493
0.86122
0.85742
0.85352
0.84953
0.84545
0.84128
0.83701
0.83264
0.82819
0.82365
0.81901
0.81428
0.80947
0.80456
0.79957
0.79449
0.78932
0.78406
0.77872
0.7733
0.76779
0.7622
0.75653
0.75079
0.74496
0.73905
0.73308
0.72702
0.7209
0.7147
0.70843
0.7021
0.6957
0.68923
0.6827
0.67611
0.66947
0.66276
0.656
0.64919
0.64233
0.63542
0.62846
0.62146
0.61441
0.60733
0.60021
0.59305
0.58586
0.57864
0.5714
0.56413
0.55683
0.54952
0.54218
0.53484
0.52747
0.5201
0.51273
0.50534
0.49796
0.49057
0.48319
0.47581
0.46844
0.46108
0.45373
0.4464
0.43909
0.4318
0.42453
0.41728
0.41007
0.40288
0.39573
0.38861
0.38152
0.37448
0.36748
0.36052
0.35361
0.34674
0.33993
0.33317
0.32646
0.3198
0.31321
0.30667
0.3002
0.29378
0.28743
0.28115
0.27493
0.26878
0.2627
0.2567
0.25076
0.2449
0.23911
0.2334
0.22777
0.22221
0.21673
0.21133
0.20601
0.20077
0.19561
0.19053
0.18553
0.18062
0.17578
0.17103
0.16637
0.16178
0.15728
0.15287
0.14853
0.14428
0.14011
0.13603
0.13202
0.1281
0.12426
0.1205
0.11682
0.11323
0.10971
0.10627
0.10291
0.099626
0.096421
0.093292
0.090239
0.087261
0.084356
0.081525
0.078766
0.076079
0.073461
0.070914
0.068434
0.066022
0.063677
0.061397
0.059181
0.057028
0.054938
0.052908
0.050938
0.049028
0.047175
0.045378
0.043637
0.04195
0.040317
0.038735
0.037205
0.035724
0.034291
0.032907
0.031569
0.030276
0.029027
0.027821
0.026658
0.025535
0.024452
0.023408
0.022402
0.021432
0.020498
0.019599
0.018734
0.017901
0.0171
0.01633
0.01559
0.014879
0.014196
0.01354
0.01291
0.012306
0.011727
0.011171
0.010639
0.010128
0.0096393
0.0091712
0.0087231
0.0082944
0.0078842
0.007492
0.0071171
0.0067588
0.0064166
0.0060898
0.0057778
0.0054801
0.0051961
0.0049252
0.0046671
0.004421
0.0041866
0.0039634
0.0037509
0.0035487
0.0033564
0.0031734
0.0029995
0.0028342
0.0026772
0.0025281
0.0023865
0.0022521
0.0021246
0.0020037
0.0018891
0.0017805
0.0016776
0.0015801
0.0014878
0.0014005
0.0013179
0.0012397
0.0011658
0.001096
0.00103
0.00096768
0.00090884
0.00085331
0.00080091
0.00075148
0.00070489
0.00066096
0.00061958
0.0005806
0.0005439
0.00050935
0.00047684
0.00044627
0.00041752
0.0003905
0.0003651
0.00034125
0.00031886
0.00029783
0.00027811
0.0002596
0.00024225
0.00022599
0.00021075
0.00019647
0.0001831
0.00017059
0.00015887
0.00014792
0.00013768
0.0001281
0.00011915
0.00011079
0.00010298
9.5695e-05
8.8894e-05
8.255e-05
7.6633e-05
7.1117e-05
6.5976e-05
6.1188e-05
5.6728e-05
5.2576e-05
4.8712e-05
4.5117e-05
4.1774e-05
3.8666e-05
3.5778e-05
3.3094e-05
3.0602e-05
2.8288e-05
2.6141e-05
2.4148e-05
2.23e-05
2.0587e-05
1.8999e-05
1.7528e-05
1.6166e-05
1.4904e-05
1.3737e-05
1.2656e-05
1.1657e-05
1.0734e-05
9.8797e-06
9.0908e-06
8.3622e-06
7.6894e-06
7.0684e-06
6.4954e-06
5.9669e-06
5.4796e-06
5.0305e-06
4.6166e-06
4.2354e-06
3.8844e-06
3.5612e-06
3.2639e-06
2.9905e-06
2.739e-06
2.5079e-06
2.2955e-06
2.1004e-06
1.9212e-06
1.7567e-06
1.6058e-06
1.4674e-06
1.3405e-06
1.2241e-06
1.1175e-06
1.0198e-06
9.3033e-07
8.4844e-07
7.735e-07
7.0495e-07
6.4226e-07
5.8496e-07
5.3258e-07
4.8474e-07
4.4105e-07
4.0116e-07
3.6476e-07
3.3155e-07
3.0127e-07
2.7366e-07
2.485e-07
2.2557e-07
2.047e-07
1.8569e-07
1.6839e-07
1.5266e-07
1.3834e-07
1.2533e-07
1.1351e-07
1.0276e-07
9.3003e-08
8.4144e-08
7.6102e-08
6.8807e-08
6.219e-08
5.6191e-08
5.0753e-08
4.5827e-08
4.1364e-08
3.7324e-08
3.3668e-08
3.0359e-08
2.7366e-08
2.466e-08
2.2215e-08
2.0005e-08
1.8009e-08
1.6207e-08
1.458e-08
1.3112e-08
1.1788e-08
1.0594e-08
9.5179e-09
8.5482e-09
7.6747e-09
6.8882e-09
6.1802e-09
5.5432e-09
4.9701e-09
4.4548e-09
3.9916e-09
3.5754e-09
3.2014e-09
2.8657e-09
2.5643e-09
2.2938e-09
2.0512e-09
1.8336e-09
1.6385e-09
1.4637e-09
1.3071e-09
1.1669e-09
1.0414e-09
9.2905e-10
8.2855e-10
7.3868e-10
6.5833e-10
5.8653e-10
5.2238e-10
4.6509e-10
4.1395e-10
3.683e-10
3.2758e-10
2.9127e-10
2.5889e-10
2.3003e-10
2.0433e-10